## Dashboard
KPI | Value
Total stock value | 25000
Items below reorder level | 8
Top used items (last 30 days) | LED Bulbs, Paint Brushes, Safety Vests
Average replenishment time | 5.2 days

## Electric
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Unit Price | Total Value | Supplier | Last WO | Condition | Last Updated | Expiry Date
E001 | LED Downlights 9W | 45 | Units | Storeroom A1 | R125.00 | R5625.00 | Osram | WO2024-001 | Good | 2024-08-15 | 2024-12-31
E002 | Cordless Drill 18V | 8 | Units | Storeroom A1 | R2850.00 | R22800.00 | Bosch | WO2024-002 | Excellent | 2024-08-16 | 2024-12-31
E003 | Extension Cord 20m | 12 | Units | Storeroom A2 | R350.00 | R4200.00 | Ellies | WO2024-003 | Good | 2024-08-17 | 2024-12-31
E004 | Circuit Breaker 20A | 25 | Units | Storeroom A1 | R180.00 | R4500.00 | ABB | WO2024-004 | New | 2024-08-18 | 2024-12-31
E005 | Electrical Cable 2.5mm | 500 | Meters | Storeroom A3 | R45.00 | R22500.00 | Aberdare | WO2024-005 | Good | 2024-08-19 | 2024-12-31
E006 | Socket Outlets Double | 35 | Units | Storeroom A1 | R85.00 | R2975.00 | Crabtree | WO2024-006 | Good | 2024-08-20 | 2024-12-31
E007 | Fluorescent Tubes 36W | 60 | Units | Storeroom A2 | R65.00 | R3900.00 | Philips | WO2024-007 | Good | 2024-08-21 | 2024-12-31
E008 | Wire Nuts Assorted | 200 | Units | Storeroom A1 | R8.50 | R1700.00 | Generic | WO2024-008 | Good | 2024-08-22 | 2024-12-31
E009 | Voltage Tester Digital | 3 | Units | Storeroom A1 | R450.00 | R1350.00 | Fluke | WO2024-009 | Excellent | 2024-08-23 | 2024-12-31
E010 | Electrical Tape Black | 48 | Rolls | Storeroom A2 | R25.00 | R1200.00 | 3M | WO2024-010 | Good | 2024-08-24 | 2024-12-31

## Plumbing
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Unit Price | Total Value | Supplier | Last WO | Condition | Last Updated | Expiry Date
P001 | PVC Pipe 110mm x 3m | 25 | Units | Storeroom B1 | R185.00 | R4625.00 | Marley | WO2024-011 | Good | 2024-08-15 | 2024-12-31
P002 | Toilet Cistern Complete | 8 | Units | Storeroom B1 | R850.00 | R6800.00 | Geberit | WO2024-012 | New | 2024-08-16 | 2024-12-31
P003 | Pipe Wrench 300mm | 6 | Units | Storeroom B1 | R320.00 | R1920.00 | Ridgid | WO2024-013 | Good | 2024-08-17 | 2024-12-31
P004 | Basin Tap Chrome | 12 | Units | Storeroom B2 | R450.00 | R5400.00 | Grohe | WO2024-014 | New | 2024-08-18 | 2024-12-31
P005 | Drain Cleaner 5L | 15 | Units | Storeroom B3 | R95.00 | R1425.00 | Mr Muscle | WO2024-015 | Good | 2024-08-19 | 2024-12-31
P006 | Pipe Joints 90deg 110mm | 40 | Units | Storeroom B1 | R45.00 | R1800.00 | Marley | WO2024-016 | Good | 2024-08-20 | 2024-12-31
P007 | Silicone Sealant Clear | 30 | Tubes | Storeroom B2 | R35.00 | R1050.00 | Bostik | WO2024-017 | Good | 2024-08-21 | 2024-12-31
P008 | Water Pump 1HP | 2 | Units | Storeroom B1 | R2850.00 | R5700.00 | Grundfos | WO2024-018 | New | 2024-08-22 | 2024-12-31

## Carpentry
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
CAR001 | Wood Screws Self-Tapping 50mm Zinc | 280 | pcs | Hardware Store | 200 | 500 | FastenMax SA | 2025-08-12 |  | 3.25 | 910
CAR002 | Pine Timber PAR 38x114mm 3.6m | 12 | lengths | Timber Yard | 20 | 60 | TimberMax Ltd | 2025-07-28 |  | 145 | 1740
CAR003 | PVA Wood Glue Weatherproof 500ml | 15 | bottles | Adhesives Store | 12 | 35 | BondTech Pro | 2025-08-20 | 2027-08-20 | 85 | 1275
CAR004 | Door Hinges Heavy Duty 100mm Brass | 18 | pairs | Hardware Store | 25 | 60 | HardwarePro SA | 2025-06-30 | 2030-06-30 | 125 | 2250
CAR005 | Wood Stain Mahogany 1L | 6 | cans | Paint Store | 12 | 30 | WoodFinish Ltd | 2025-05-22 | 2028-05-22 | 165 | 990

## Painting
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
PNT001 | Acrylic Interior Paint Brilliant White 5L | 25 | cans | Paint Store | 15 | 50 | ColorMax Paints | 2025-08-18 | 2027-08-18 | 335 | 8375
PNT002 | Paint Brushes Professional 75mm Synthetic | 18 | pcs | Tool Store | 15 | 45 | BrushPro SA | 2025-07-12 |  | 65.5 | 1179
PNT003 | Paint Roller Kit 230mm with Tray | 14 | sets | Tool Store | 10 | 30 | RollTech Ltd | 2025-07-25 |  | 145 | 2030
PNT004 | Exterior Paint Weatherguard Grey 5L | 4 | cans | Paint Store | 12 | 35 | WeatherShield SA | 2025-06-08 | 2030-06-08 | 485 | 1940
PNT005 | Paint Primer Sealer Universal 5L | 8 | cans | Paint Store | 10 | 25 | ColorMax Paints | 2025-08-02 | 2028-08-02 | 265 | 2120

## Aircon
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
AIR001 | HVAC Air Filter Pleated 595x595x48mm | 32 | pcs | HVAC Store | 25 | 80 | CoolAir Systems | 2025-08-10 |  | 125 | 4000
AIR002 | Refrigerant Gas R410A Environmental 1kg | 6 | bottles | Refrigerant Store | 8 | 25 | ChillMax Pro | 2025-07-05 | 2030-07-05 | 520 | 3120
AIR003 | Digital Thermostat Programmable 7-Day | 9 | pcs | Controls Store | 12 | 30 | TempControl SA | 2025-06-25 | 2030-06-25 | 385.5 | 3469.5
AIR004 | Condensate Drain Pump 230V | 3 | pcs | HVAC Store | 8 | 20 | PumpTech SA | 2025-05-18 | 2028-05-18 | 645 | 1935

## Safety
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
SAF001 | Safety Helmets Hard Hat ANSI Compliant | 42 | pcs | PPE Store | 30 | 80 | SafeGuard Ltd | 2025-08-08 | 2030-08-08 | 185 | 7770
SAF002 | Hi-Vis Safety Vests Class 2 Reflective | 28 | pcs | PPE Store | 25 | 75 | VisProtect SA | 2025-07-30 |  | 125 | 3500
SAF003 | Fire Extinguisher DCP 2kg SABS | 12 | pcs | Fire Safety Store | 15 | 40 | FireSafe Pro | 2025-06-12 | 2030-06-12 | 385 | 4620
SAF004 | Safety Goggles Clear Anti-Fog | 18 | pcs | PPE Store | 20 | 50 | EyeProtect SA | 2025-08-15 | 2027-08-15 | 65 | 1170
SAF005 | First Aid Kit Workplace 20-Person | 5 | kits | Medical Store | 8 | 20 | MedCare Supplies | 2025-07-18 | 2027-07-18 | 245 | 1225

## Ceiling Tiles
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
CTL001 | Acoustic Ceiling Tiles 600x600mm | 48 | pcs | Ceiling Materials | 60 | 150 | CeilingPro SA | 2025-07-08 |  | 45 | 2160
CTL002 | Suspended Ceiling Grid T-Bar 3.6m | 25 | lengths | Ceiling Materials | 30 | 80 | GridMax Ltd | 2025-06-20 | 2035-06-20 | 125 | 3125

## Decoration
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
DEC001 | Vinyl Floor Tiles Self-Adhesive | 85 | pcs | Flooring Store | 100 | 300 | FloorStyle SA | 2025-08-12 | 2030-08-12 | 28.5 | 2422.5
DEC002 | Window Blinds Venetian 1200mm | 8 | pcs | Window Treatments | 12 | 30 | BlindCraft Ltd | 2025-05-25 | 2030-05-25 | 285 | 2280

## Parking & Signage
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
PKG001 | Parking Bay Markers Reflective Yellow | 12 | pcs | Signage Store | 20 | 50 | SignMax Pro | 2025-07-15 | 2035-07-15 | 145 | 1740
PKG002 | No Smoking Signs Aluminium 300x200mm | 6 | pcs | Signage Store | 15 | 40 | SafeSign SA | 2025-06-28 | 2040-06-28 | 65 | 390

## Access Control
Item Code | Description | Quantity on Hand | Unit of Measure | Location | Min. Stock Level | Max. Stock Level | Supplier | Last Purchase Date | Warranty Expiry (if applicable) | Cost/Unit | Total Value (auto-calc)
ACC001 | Proximity Card Reader RFID | 4 | pcs | Security Store | 8 | 20 | SecureTech SA | 2025-05-10 | 2030-05-10 | 1250 | 5000
ACC002 | Access Control Cards Proximity | 85 | pcs | Security Store | 100 | 500 | CardTech Ltd | 2025-08-20 | 2035-08-20 | 25 | 2125

## Maintenance Log
Date | Task Completed | Category | Technicians Involved | Time Taken | Special Notes / Challenges | Before & After Photos Link | Impact
2025-08-15 | Emergency lighting system upgrade - replaced LED bulbs and exit signs | Electric | John Smith (Electrical), Mike Wilson (Assistant) | 4.5h | Had to coordinate with building occupants for power shutdowns. Some ceiling fixtures required scaffolding. Discovered two faulty ballasts that needed replacement. | drive://facilities/maintenance/2025-08-15-emergency-lighting | Enhanced safety compliance, improved energy efficiency by 35%, better illumination levels
2025-08-20 | Critical plumbing repair - main water line leak in basement | Plumbing | Sarah Connor (Senior Plumber), Tom Brown (Pipe Specialist) | 6h | Emergency repair required full building water shutdown for 3 hours. Had to excavate concrete floor to access main line. Coordinated with water authority for pressure testing. | drive://facilities/maintenance/2025-08-20-water-line-repair | Eliminated risk of flooding, restored full water pressure, prevented potential structural damage
2025-08-25 | Office renovation - complete repainting of reception and meeting areas | Painting | Lisa Davis (Lead Painter), Carlos Martinez (Assistant) | 8h | Required extensive prep work due to wall damage. Used low-VOC paints for indoor air quality. Had to work around office furniture and equipment. | drive://facilities/maintenance/2025-08-25-office-renovation | Professional appearance restored, improved workplace morale, better first impression for visitors
2025-09-01 | HVAC preventive maintenance - filter replacement and system cleaning | Aircon | Mark Johnson (HVAC Tech), Pete Williams (Assistant) | 7h | Several units had severely clogged filters affecting airflow. Cleaned evaporator coils and checked refrigerant levels. Replaced 3 thermostats with digital programmable units. | drive://facilities/maintenance/2025-09-01-hvac-service | Improved air quality by 40%, reduced energy consumption, extended equipment lifespan
2025-09-03 | Safety equipment audit and fire extinguisher servicing | Safety | Janet Wilson (Safety Officer), Robert Lee (Fire Safety Tech) | 3h | Found 2 expired extinguishers that needed immediate replacement. Updated safety signage in multiple languages. Conducted emergency exit lighting tests. | drive://facilities/maintenance/2025-09-03-safety-audit | Full safety compliance achieved, emergency preparedness improved, staff confidence increased
2025-09-05 | Carpentry repairs - damaged door frames and window sills replacement | Carpentry | David Thompson (Master Carpenter) | 5.5h | Wood rot damage more extensive than initially assessed. Had to source matching timber stain. Some areas required structural reinforcement. | drive://facilities/maintenance/2025-09-05-carpentry-repairs | Structural integrity restored, improved weather sealing, enhanced building aesthetics

## Suppliers & Contractors
Supplier Name | Category Supplied | Contact Person | Phone/Email | Contract Expiry Date | Preferred / Approved Vendor Indicator
ElectroMax Ltd | Electric, Emergency Lighting | David Johnson (Sales Manager) | david@electromax.co.za / 011-555-0001 / 082-123-4567 | 2025-12-31 | Preferred
PowerPlus Co | Electric, Heavy Duty Equipment | Michelle Thompson (Account Manager) | michelle@powerplus.co.za / 011-555-0012 / 083-987-6543 | 2026-08-15 | Approved
AquaFlow Systems | Plumbing, Water Management | Maria Rodriguez (Technical Sales) | maria@aquaflow.co.za / 021-555-0002 / 072-456-7890 | 2026-06-30 | Preferred
FlowMeter SA | Plumbing, Metering Equipment | James Wilson (Regional Manager) | james@flowmeter.co.za / 031-555-0015 / 084-321-0987 | 2027-02-28 | Approved
TimberMax Ltd | Carpentry, Structural Timber | Peter van der Merwe (Operations Manager) | peter@timbermax.co.za / 031-555-0003 / 073-654-3210 | 2025-10-15 | Preferred
FastenMax SA | Carpentry, Hardware, Fasteners | Ryan Mitchell (Sales Representative) | ryan@fastenmax.co.za / 011-555-0018 / 076-890-1234 | 2026-11-20 | Approved
ColorMax Paints | Painting, Interior/Exterior Coatings | Jennifer Smith (Key Account Manager) | jen@colormax.co.za / 011-555-0004 / 082-567-8901 | 2026-03-20 | Preferred
WeatherShield SA | Painting, Protective Coatings | Michael Brown (Technical Specialist) | michael@weathershield.co.za / 021-555-0022 / 079-234-5678 | 2025-09-30 | Approved
CoolAir Systems | HVAC, Air Conditioning | Ahmed Hassan (Technical Director) | ahmed@coolair.co.za / 021-555-0005 / 071-345-6789 | 2025-11-30 | Preferred
ChillMax Pro | HVAC, Refrigerants & Components | Lisa Chen (Business Development) | lisa@chillmax.co.za / 011-555-0025 / 083-678-9012 | 2026-07-15 | Approved
SafeGuard Ltd | Safety, Personal Protective Equipment | Susan Williams (Safety Consultant) | susan@safeguard.co.za / 031-555-0006 / 074-789-0123 | 2026-01-31 | Preferred
MedCare Supplies | Safety, Medical & First Aid | Dr. Patricia Adams (Medical Advisor) | patricia@medcare.co.za / 021-555-0028 / 072-890-1234 | 2026-12-31 | Approved
CeilingPro SA | Ceiling Tiles, Suspended Systems | Robert Taylor (Project Manager) | robert@ceilingpro.co.za / 011-555-0030 / 075-123-4567 | 2026-04-30 | Approved
SecureTech SA | Access Control, Security Systems | Mark Stevens (Security Solutions Manager) | mark@securetech.co.za / 031-555-0033 / 078-345-6789 | 2027-01-15 | Preferred